| Thermographic-PIV | Experimental facility for simultaneous mapping of whole field temperature and velocity distributions. |
| --- | --- |
| File name: Dual wavelength interferometer.JPG Caption: Dual wavelength interferometry | For whole field and simultaneous investigation of coupled heat and mass transfer applications, for instance, double diffusive convection. The facility is equipped with a multi-line Ar-ion (tunable) laser and a He-Ne laser along with CMOS colour camera. |
| File name: RSD.JPG Caption: Rainbow Schlieren Deflectometry | Non-intrusive, real time whole field measurements of temperature (density) gradients and heat transfer rates. Extensively applied in single as well two-phase heat transfer configurations. |
| File name: High temperature conical levitator.JPG Caption: High temperature conical levitator | Experimental facility based on the concept of aerodynamic levitation for holding samples under completely non-contact conditions. It is equipped with high power CO2 laser (400 Watt) for heating the samples to temperatures as high as 2500oC, optical pyrometer and high speed cameras for real time imaging of the process under study. |
| File name: IR Camera.JPG Caption: Thermal imaging IR camera (FLIR) | IR resolution (maximum): 640×512 at 126 fps. Maximum frame rate: 4011 Hz at 64×512 IR resolution. |
| File name: High speed camera.JPG Caption: High speed cameras | High speed cameras that can offer frame rates as large as 10000 fps at full resolution. |
| Multiwavelength Abbe refractometer | Measurement of refractive index of working fluids at different temperatures and different wavelengths. |
| File name: Polarized microscope.JPG Caption: Polarized microscope | Polarized microscope |
| File name: Pool boiling chamber.JPG Caption: Pool boiling chambers | Chambers for performing nucleate pool boiling experiments. Equipped with high quality optical windows (for process visualization), heating mechanisms, temperature controllers etc. |
| File name: Experimental test loop for flow boiling in compact channels.JPG Caption: Flow boiling in small length scale channels | Experimental set ups for performing nucleate flow boiling experiments in small length scale channels. Equipped with high speed colour CCD and/or videography cameras, diffuse light source etc. |
| File name: TFI.png Caption: Thin film interferometry | Ingeniously developed interferometer for thin film measurements; microlayer dynamics under nucleate boiling conditions; Triple contact line tracing during droplet/thin film evaporation. |